## Checklist Final (MSDS Version
Scoring Matrix to Assess Implementation of CCL Standards/ Best Practices Guidelines 2017
IHRA CCL Standards Checklist
IHRA Registration No: ______________
Name of HCE: _______________________________________________________________________________
Address: ____________________________________________________________________________________
Focal Person: ________________________________________________________________________________
Address: ____________________________________________________________________________________
Contact No.: _________________________________________Date: __________________________________
Inspection Team
Name & Signature: _________________________________________________________________________
Name & Signature: _________________________________________________________________________
Name & Signature: _________________________________________________________________________
Name & Signature: _________________________________________________________________________
Marks Obtained
Maximum Score: ______________
Awarded Score: ______________
S. No. | Indicator | Max Score |  | Awarded Score
Standard 1. Portrayed Invasive Cardiology services, are provided as per the statutes/ prescribed standards
1 | Invasive Cardiology / Cardiac Catheterization Laboratory staff is aware of the relevant laws, prescribed rules, regulations and service specific standards. Compliance Requirements: i. Key staff should have copies / access to the statutes, standards and SOPs. (5) ii. Key staff is aware of the regulatory requirements. (5) | 10 | 100%
2 | Level of the Cardiac Catheterization Laboratory is displayed and the CCL is registered with the PSIC. Compliance Requirements: i. Level of the particular Cath Lab, as classified in the CCL Guidelines (Level-I, Level-II or Level-III) is displayed in a way that it is clearly understandable for the patients/clients. (2.5) ii.Key staff is aware of the basis of classification of the Cath Labs in to various levels. (2.5) iii.Document/s defining the procedures performed and excluded in the CCL is available. (2.5) iv.Documentary evidence in respect of registration of the CCL with PSIC. (2.5) | 10 | 100%
3 | Registration standards / regulations for the Cardiac stents, LSMDs and disposable used for provision of interventional cardiology services and implanting Cardiac stents as notified by the regulatory authority /competent forum from time to time are followed Compliance Requirements: i. The staff/ Cath Lab operators are aware of the registration / regulations notified by the DRAP in respect of cardiac stents as well as LSMDs and the negative List regarding the stents and LSMDs. (3) ii. Only the Cardiac stents, LSMDs and other disposables registered with the national registry of DRAP/NMDR are used by the Cath lab. (3.5) iii. No cardiac stent, other devices or disposables placed in the ‘Negative List’ by the NICB and published by DRAP for enforcement are imported or used by the CCL. (3.5) | 10 | 100%
4 | Pricing policy for provision of interventional cardiology services, implanting Cardiac stents and other LSMDs, as notified / fixed by the regulatory authority or the CCL/HCE from time to time, is followed Compliance Requirements: i. The staff/ Cath Lab operators are aware of the prices fixed by the DRAP or notified by the CCL/HCE in respect of provision of interventional cardiology including implanting cardiac stents as well as LSMDs and other interventional procedures. (2.5) ii. Pricing policy based on the regulatory directions is adopted by the service providers/ CCLs/HCEs and made known to the patients/ families. (2.5) iii. The cost of the entire process of interventional cardiology treatment is divided into following four components and prominently displayed for information of the patients; (5) a) Cost of stents, LSMDs and other necessary devices and disposables. b) Professional Fee of the operator/ Interventionist. c) Charges of Cath Lab. d) Room/ Ward & others costs charged by Hospital. (Pricing as above, to be applicable for Level I & Level II Cath Labs, Level III Labs to only specify Rates for diagnostic procedures & services offered at the Lab / facility) | 10 | 100%
5 | Cardiac Catheterization Laboratory has all the facilities available according to its portrayed scope of Services Compliance Requirements: Level I Cath labs need to have the following facilities on site while the Level II CCLs are required to have a documented arrangement in the form of an MOU signed with such HCE having arrangements for timely availability of Cardiovascular Surgery and Anesthesia services. i. Cardiovascular Surgery (2) ii. Cardiovascular Anesthetists (2) iii. Intensive Care Unit (2) iv. Coronary Care Unit (2) v. Echocardiography (TTE &TOE) and Doppler (1) vi. In case of Pediatric Catheterization Laboratory, similar services for pediatric age patients are available. (1) Level II Cath Labs should ensure the provision of the following facilities: i. A working relationship between the interventional cardiologists and cardiac surgery service at the receiving hospital documented by a letter of support from the surgical group to accept cases. (2) ii. A mechanism whereby a cardiac surgeon has the ability to review coronary angiograms before elective procedures and provide comments to the cardiologist and, if necessary, patients. (2) iii. Surgical backup available at all hours for urgent cases and for elective cases at mutually agreeable times. (2) iv. Confirmed availability of cardiac sur and a next available Operating Room before elective procedures begin per written agreement. (1) v. Mechanism for direct discussion between the Cardiologist and cardiac surgeon should urgent transfer be necessary. (1) vi. A written transfer agreement endorsed by both facilities and documentation of a rehearsed plan for the transport of patients to a facility with cardiac surgery and the ability to have patients on cardiopulmonary bypass within 90 minutes of the onset of the emergency. (1) vii. A transport provider able to begin transfer within 20 minutes. (1) Note: Level II Lab: On site availability of Cardiac Surgery &Cardiovascular Anesthesia not applicable; however, these services are to be accessible within prescribed limits as per CCL Guidelines, 2017 Level III Lab: parameters for availability of CCU, Hematology service, Echocardiography, Doppler, Mechanical support devices and formal patient transfer agreement applicable only | 10 | 100%
6 | Cardiac Catheterization Laboratory has all the services available according to its portrayed scope of work Compliance Requirements* for LEVEL-I CCLs: i. Nephrology consultative services and dialysis. On-site On-call ii. Neurology Consultative Services On-site On-call iii. Hematologic Consultative Services & Blood Bank On-site On-call iv. MRI and CT (optional) On-site *(If all the above services are available on-site, then score as fully met If all or any one of the above consultative services are available on call only, then score as partially met If any of the above requirements are neither available on site nor on call, then score as not met) Compliance Requirements* for LEVEL-II CCLs: i. Hematologic Consultative Services & Blood Bank Services On-site On-call *(If Hematologic Consultative Services & Blood Bank Services are available on-site, then score as fully met If available on call only, then score as partially met If neither available on site nor on call, then score as not met) | 10 | 80%
7 | Specialized care services are available on 24/7 basis or on call to handle emergencies. Compliance Requirements: i. There is an established mechanism (duty roster) for provision of specialized care services on 24/7 basis as well as on call. (6) ii. Evidence that such services were made available in case of emergency (4) | 10 | 100%
8 | There is an established process for the introduction of new procedures into the lab setting Compliance Requirements: i. Document defining the process for the introduction of new procedures into the Cath laboratory setting. (5) ii. SOPs/protocols to inform the staff about the new procedures are implemented. (5) | 10 | 100%
Standard 2: Cardiac Catheterization Laboratory has a programme for management of support services equipment
9 | Cardiac Catheterization Laboratory has all the general equipment according to its portrayed scope of service/level Compliance Requirement: i. Digital fluoroscopy (2) ii.Angiography with multiple image intensifier /flat panel sizes (preferably) iii. On-line image storage and retrieval capabilities(preferably) iv. Physiologic monitoring with pressure, pulse oximetry & ECG channels (2) v.Appropriate inventory/stock of disposable supplies for: (2) a. Vascular access management b. Diagnostic coronary angiography c. Ventriculography vi. Varied inventory/ stock of: (2) a. Coronary guiding catheters b. Coronary guide wires c. Angioplasty balloons d. Coronary stents e. Other treatment devices commensurate with the scope of services provided by the Cath lab. vii. Expiry date in respect of cardiac stents as well as LSMDs and disposables is monitored and followed. (2) | 10 | 100%
10 | All the emergency management equipment to cater for the claimed scope of service/ level is installed Compliance Requirements: i. Presence of following emergency management equipment: a. Resuscitation Equipment b. A biphasic Defibrillator and back up c. Vasoactive and Antiarrhythmic Drugs d. Endotracheal intubation e. Temporary trans-venous pacemaker f. Pericardiocentesis equipment ii. Mechanical support Devices*: a. Intra-aortic Balloon pump b. Impella Catheters iii. Expiry date in respect of drugs and disposables is monitored and followed. iv. Personnel trained on their indications and use of the emergency management equipment * If all the above requirements including the IAoBP and Impellla Catheters, both, are available, then score as fully met. If all the above requirement and either IAoBP or Impellla Catheters are available, then score as partially met. If any of the above requirements, and neither IAoBP nor Impellla Catheters, are available then, score as not met. | 10 | 80%
11 | Cardiac Catheterization Laboratory has the radiographic equipment according to its claimed scope of service/level Compliance Requirements: i. The radiographic equipment is capable to ensure/ provide for the following: (6) a. Image quality b. Dynamic range c. Modulation transfer function(preferably) d. Fluoroscopic spatial resolution e. Fluoroscopic field of view size accuracy f. Low contrast resolution g. Record fluoroscopic mode h. Automatic exposure control under standard conditions and at maximum output i. Calibration of integrated radiation Dosimeter. ii. Qualified and trained staff to operate the radiographic equipment (4) | 10 | 100%
12 | The Preventive maintenance and calibration Programme for all equipment is documented and implemented Compliance Requirements: i. A process documenting routine preventive maintenance and testing calibration of Cath Laboratory equipment based on vendor recommendations/ OEM guidelines is established and implemented (3) ii.The operational efficiency of infrequently used equipment is ensured through regular assessment of their functions with logs kept that also include personnel training updates (3.5) iii. Functional UPS/Generator (3.5) | 10 | 100%
13 | The CCL has a valid license issued by the PNRA Compliance Requirements: i. The CCL is licensed by PNRA and the license is valid. (3) ii. The comprehensive radiation safety programme is documented and implemented. (3) iii. The CCL staff uses radiation protection equipment e.g. Lead aprons, neck shields and dosimeter etc. (4) | 10 | 100%
Standard 3: A Credentialing Committee is established with defined and notified TORs
14 | CCL credentialing committee reviews the individual physician`s credentials to authorize/ grant privileges to CCL operators to carry out defined procedures Compliance Requirements: i. Established/notified Credentialing Committee with defined role/ TORs (3) ii.The Credentialing Committee includes the senior managers, senior Interventional Cardiologists/ Director/ head of HR, as members (3.5) iii. The credentialing committee reviews the credentials of the Cath Lab Operators to authorize / grant privileges as per the defined eligibility criteria (3.5) | 10 | 100%
15 | Eligibility criteria for Cath Lab Director is defined and followed as per the CCL Guidelines Compliance Requirements: i. Eligibility criteria of the Cath Lab Director is defined (5) ii. Appointment of the CCL Director is as per eligibility criteria i.e. Interventional Cardiologist with five or more years of experience (5) | 10 | 100%
16 | The eligibility criteria of all Cath Lab Operators based on Practice and Training pathways, as defined in the CCL Standards and Best Practices Guidelines is followed Compliance Requirements: i. Eligibility Criteria for the CCL operators is defined as per CCL Standards (5) ii. Evidence that the eligibility criteria is followed (5) | 10 | 100%
17 | The Physician Extenders and Cardiology Fellows are allowed to work as primary operators for training purpose only Compliance Requirements: i. SOPs defining that Interventional Fellows/ Residents are recognized as primary operators for training purpose only. ii. Evidence that the physician extenders and non-physician extenders are proficient. iii. The Physician Extenders are appropriately trained and credentialed iv. Presence of documented policy regarding the supervisory role of the Primary Operating Physician/ CCL Operator | 10 | 100%
18 | The nursing personnel in the CCL is qualified and have specific experience and well defined role/JDs Compliance Requirements: i. A registered Nurse with relevant experience functions as Nursing Supervisor for the CCL (2.5) ii. The role of nursing supervisor is defined (2.5) iii. The nurses deputed in the CCL are qualified, trained and skilled. (2.5) iv. Nursing assistants are appointed in the CCL as required (2.5) | 10 | 100%
19 | The technologists at the CCL have specific experience and well-defined role/JDs Compliance Requirements: i. Presence of technologist/certified Radiological Technologists in the CCL as per requirement. (5) ii. The technologist are qualified, trained and skilled as per guidelines (5) | 10 | 100%
Standard 4: Pre-procedure good practices are defined and followed
20 | Informed consent (IC) for performing cardiac procedure is obtained as per guidelines Compliance Requirements: Level- I Cath Labs: i.Documented policy on taking informed consent. (5) ii.Each patient’s medical record has a documented Informed, valid consent as per guidelines (5) Level-II Cath Labs: A PCI consent form that explains that the procedure is being performed without onsite surgery and what will be the way if surgery is necessary. | 10 | 100%
21 | Pre-procedure assessment protocols are complied, and there is documented evidence Compliance Requirements: i. Documented pre-procedure assessment protocols (2) ii. The pre-procedure assessment protocols cover: (6) a. Review of Ethical concerns b. Prior knowledge of allergies c. Management of medication d. Documentation of allergic reactions e. Protocol for preventing Contrast reaction f. Review of Lab Values/ Reports iii. The evidence that pre-procedure assessment protocols are followed (2) | 10 | 100%
Standard 5: Prescribed Intra Procedure Protocols are defined and complied
22 | Documented intra-procedure protocols are available and practiced by the operators Compliance Requirements: i. Intra-procedure protocols are followed and documented: (4) a. Verification of expiry dates of device being inserted b. Writing/Pasting of the label (batch no./ manufacture details) of the device used ii. Intra-procedure monitoring must include: (4) a. Noninvasive hemodynamic and oximetric monitoring of patients’ vitals. b. Defibrillation pads should be attached to all STEMI patients iii. The technologists are trained and skilled to follow intra procedure protocols as per guidelines. (2) | 10 | 100%
Standard 6: Prescribed Post Procedure Protocols are complied
23 | Patient is communicated his post procedural clinical status by the Physician Compliance Requirements: i. Documented post procedural protocols/SOPs and defined mechanism of Physician to Patient communication as per guidelines (5) ii. Evidence that the SOPs are complied (5) | 10 | 100%
24 | Access site is managed as per protocols Compliance Requirements: i. Choice of Access site is as per Guidelines. (3) ii. Access site closure/ management is as per guidelines (3) iii. Procedures Notes including details regarding access site management and closure devices used are recorded (4) | 10 | 100%
Standard 7: Patient outcomes are documented in the interest of patients
25 | Results of interventional procedures are reported as per protocols and regulatory requirements. Compliance Requirements: i. Preliminary procedure reports /notes must be written or dictated immediately after the procedure and added in the medical record of the patient. (2.5) ii. Procedural notes are documented in the record as per guidelines (2.5) iii. A CD consisting of a video recording of all the procedures is added in the medical record of the patient (2.5) iv. Progress notes are entered in the record as per guidelines before transfer of the patient to the next level of care (2.5) | 10 | 100%
26 | Complications and adverse in-hospital outcomes are reviewed for diagnostic interventional procedures Compliance Requirements: i. Documented SOPs to review the adverse in-hospital outcomes/complications. (2.5) ii. Evidence that the adverse in-hospital outcomes/ complications are identified and documented in the medical records and are reviewed for diagnostic interventional procedures (2.5) iii. Evidence of participation in NCDR or CROP-Cath PCI Registry (2.5) iv. In case of non-participation in NCDR or CROP Cath PCI Registry, assessment of complications is in accordance with the guidelines as under: (2.5) a. Assessed complications are based on the list provided in the guidelines b. System for follow-up of renal functions in high riskpatients is established. | 10 | 100%
Standard 8: Radiation exposure safety program is deployed at the CCL
27 | CCL has implemented a documented radiation exposure safety programme for patients and staff Compliance Requirements: i. A documented radiation exposure Safety Programme to document radiation exposure. (1) ii. Established radiation safety Education Programme. (1) iii. SOPs for monitoring of Staff Radiation dose and evidence of monitoring. (1) iv. Evidence that procedure are performed with the goal of keeping radiation doses as low as reasonably achievable (ALARA). (1) v. All related personnel in the room/ Cath Lab wear personal protective equipment including lead aprons, neck shields etc. (1) vi. Evidence of implementation of strategies to reduce radiation exposure (1) vii. Patient radiation dose is monitored as per guidelines (1) viii. Surveillance Programme for radiation safety is documented and Implemented. (1) ix. When radioactive materials are used in the laboratory, processes are developed and implemented for their safe handling, monitoring, use and disposal. (2) | 10 | 100%
Standard 9: Infection Prevention & Control (IPC)
28 | CCL has an appropriate waste management plan in place, implements and monitors well. Compliance Requirements: CCL has developed a waste management plan in documented form and is available for inspection i) Clinical waste management protocol adheres to relevant regulations and guidelines. (2.5) ii) General waste management protocol available. (2.5) iii) Chemical waste management protocol adheres to relevant guidelines the Clinical Waste Management Plan ensuring availability of: (5) a. Single use syringes as required and syringe cutters/auto disposable (AD) syringes b. Separate containers for HCE waste (for infectious, non-infectious and sharps) Evidence of Waste Management system including the following components in practice; a. Segregation b. Collection c. Disposal | 10 | 100%
29 | CCL has implemented an infection control plan to minimize the occurrence and prevention of nosocomial infections Compliance Requirements: CCL should have a written IPC Plan to verify that it covers the following aspects. i. SOPs for Infection Prevention & Control (5) ii. Arrangement for the Infection Prevention & Control Practices (5) | 10 | 100%
30 | In CCL, there is qualified individual(s) who oversee all infection prevention and control activities. They have the necessary education, training, experience, or certification in infection prevention and control practices. Compliance Requirements: The CCL has a qualified person or team responsible for overseeing infection prevention and control activities. These individuals have the necessary education, training, experience, or certification in infection prevention and control practices. Their role is to monitor and manage infection risks, implement preventative measures, and ensure compliance with established protocols. This helps to maintain a safe and healthy environment for patients and healthcare workers. | 10 | 100%
31 | Gloves, disposable masks and hand sanitizer are available, accessible and ready for use. Compliance Requirements: In the CCL, it is necessary to have readily available single-use gloves, hand sanitizers and disposable masks. It is essential for the CCL to use these gloves and masks correctly to maintain proper hygiene standards. | 10 | 100%
Standard 10: Facility Mangement and Safety
32 | The Laboratory complies with relevant laws ,regulations, building and fire safety codes and facility inspection requirements. Compliance Requirement: i. Laboratory leaders plan and provide for sufficient space and resources to support all laboratory areas. (2) ii. Laboratory storage areas have sufficient space and are maintained under proper conditions for storage. (4) iii. Records, information, and other patient data are protected from loss, destruction, tampering, unauthorized access, and unsafe storage conditions. (4) | 10 | 100%
33 | Fire Safety: The laboratory establishes and implements a program for fire safety that includes ongoing assessment of risks and compliance with national and local codes, laws, and regulations. Compliance Requirements: i. The fire safety program includes the prevention, early detection, suppression, and containment of fire and smoke, and the safe exit from the facility when fire and nonfire emergencies occur. (3.5) ii. All fire safety equipment and systems, including devices related to early detection, alarm notification, and suppression, are inspected, tested, and maintained. (3.5) iii. The laboratory involves staff in regular exercises to evaluate fire safety programs. The fire safety program includes limiting smoking by staff and patients to designated non–patient care areas of the facility. (3) | 10 | 100%
| TOTAL | 330